## Export Summary
This document was exported from Numbers. Each table was converted to an Excel worksheet. All other objects on each Numbers sheet were placed on separate worksheets. Please be aware that formula calculations may differ in Excel.
Numbers Sheet Name | Numbers Table Name | Excel Worksheet Name
Seraph pt tx list
| Weekly listing for Seraph filter | Seraph pt tx list - Weekly list
| Priority scale for Monday - Saturday | Seraph pt tx list - Priority sc
| Standard Seraph treatment parameters | Seraph pt tx list - Standard Se

## Seraph pt tx list - Weekly list
Weekly listing for Seraph filter
Name | Room | priority | Date listed | Tx parameters

## Seraph pt tx list - Priority sc
Priority scale for Monday - Saturday
High | Do the day listed - Rank 1 to 14
Medium | Do within 2 days of listing - Rank 15 to 28
Low | Do within 3 days of listing - Rank 29 to 62
Very Low | Do within 4 days of listing - Rank 63 - 99
Lowest | Do during the week listed only if no higher priority patient listed and will not incur significant overtime. -Rank 100 or greater

## Seraph pt tx list - Standard Se
Standard Seraph treatment parameters
BFR: maximal as tolerated to 500 mL/minute
Treatment length: till 100 liters of blood is processed (use the online blood volume monitor) but no less than 4 hours and no greater than 9 hours.
Anticoagulation: Rinse filter and lines with 5,000 units of heparin followed by a 300 unit bolus at the start of the treatment and every hour thereafter.
Saline flush: Flush with 50 cc’s of saline every 30 minutes to 1 hour for signs of clotting.
Blood pressure support: 50 to 100 cc’s of 25% albumin every 30 minutes as needed for BP support up to 3 times. ICU nurses to adjust pressors prn
If HD filter in circuit: Dialysate flow 300 mL/min, 4K/2.25Ca; Bicarb setting 26, UF - keep even